R/V Endeavor Heights

All values are in meters

All heights are above Plimsoll line unless otherwise noted

| # Meteorological |  |  |
| --- | --- | --- |
|  | Height | Off center |
| Bridge Anemometer (B&S) | 20.1 | 0 |
| Wind Monitors (R.M. Young model 05103) | 18.4 | 4.3 to port & stbd |
| Solar Radiation Sensors (Eppley PIR and PSP) | 15.5 | 0 |
| Temperature/RH Probe (R.M. Young model 41372) | 10.3 | 4.0 to stbd |
| Barometric Pressure Sensor (R.M. Young model 61201) | 3.5 | 0 |

| # Navigation |  |  |  |
| --- | --- | --- | --- |
|  | Height | Off center | Fwd of stern bolt |
| Upper radar antenna | 19.6 | 0 |  |
| Lower radar antenna | 17.5 | 0 |  |
| GPS antennas (Trimble P-code) | 10.5 | 3.46 to stbd | 33.5 |
| GPS antennas (Navtrac Differential) | ~18 | 3.0 to port | 35.7 |
| GPS antennas (Trimble Magellan) | 10.5 | 3.5 to stbd | 33.5 |
| GPS antennas (Furuno) |  |  |  |
| Attitude GPS (Trimble Tans Vector) | 5.8 | 3.0 to port |  |

| # Decks, and Masts |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Height |  | # Off center |
| Top of mast | 19.7 |  | 0 |  |
| Top platform | 16.0 |  | 0 |  |
| Bow Tower | 15.5 |  | 0 |  |
| Lower platform | 12.9 |  | 0 |  |
| Pilot house roof | 8.5 |  | 0 |  |
| 02 Deck (pilot house) | 6.1 |  | 0 |  |
| 01 Deck | 3.7 |  | 0 |  |
| Main Deck at J frame | 1.1 |  | 0 |  |

| # Frames |  |  |
| --- | --- | --- |
|  | ## Height | # Off center |
| A Frame pad eye (vertical, to deck) | 7.3 | 0 |
| A Frame pad eye (fully out) | 6.6 | 0 |
| J Frame pad eye (vertical, to deck) | 6.1 | x to stbd |
| J Frame pad eye (fully out) |  | x to stbd |

J Frame over edge						20’

A Frame from bottom of hole in padeye to edge of stern		21’ 4”