***It is suggested that the scientists do their own processing of the raw data for their specific purposes.***

# The data have been preliminarily processed by the ship’s technician during the cruise for the convenience of an initial sensor check. These files should not be taken as the final processed product for analysis.

EN425 CTD PROCESSING:

Instructions for processing are in the Sea-Bird files EN425\CTD\  manualSBE4249.txt & SBEDataProcessing_5.37.pdf

Raw data is in EN425\CTD\sswin\data

Processed data is in EN425\CTD\sswin\data\list

# All casts were processed for down cast only at 0.1m depth bins

CTD deck fluorometer, transmissometer, PAR, DO, pressure tests EN425\CTD\sswin\CalData425\

See CTDSysCon425.doc and other files in EN425\CTD\ for documentation of sensor serial numbers, programs and equipment used.