***It is suggested that the scientists do their own processing of the raw data for their specific purposes.***

# The data have been preliminarily processed by the ship’s technician during the cruise for the convenience of an initial sensor check. These files should not be taken as the final processed product for analysis.

The Sea-Bird SBE21 ThermoSalinograph (TSal) was running & logging from

24 August - 10 September 2006

Data file names are 24Aug06a.*

Processed *.cnv data files are in TSalWin\data\

Raw *.hex data files are in TSalWin\data\

Calibration coefficient *.con files are in TSalWin\data\

Mark *.mrk files are in TSalWin\data\

Acquisition program files are in TSalWin\

SBEDataProcessing-Win32 program files are in TSalPro\

The data was processed using only the SBEDataProcessing-Win32 DatCnv module to convert from *.hex hexadecimal raw data in TsalWin\data\ to processed *.cnv ASCII data in TSalWin\data\list\

Instructions for processing are in the Sea-Bird files EN425\CTD\  manualSBE4249.txt & SBEDataProcessing_5.37.pdf

See TSalCastSummary425.doc and other files in EN425\TSal\ for documentation of sensor serial numbers, programs and equipment used.